## Home
SITE INFORMATION
Mission Critical Applications
Fluid Cooling Solutions
Legacy offers FREE design
engineering support.
Legacy offers the most extensive Knowledgebase on the net.
NEW! Chiller System Sizing & troubleshooting
Slide Chart Tool. SUPPLY IS LIMITED
Get a copy of our
NEW Chiller Energy
Usage Audit Tool
New Products
Legacy
System Syzer
CONDITIONS
PROCESS INPUT
DATA OUTPUT
Help Center
Terms of use: DISCLAIMER: THE INFORMATION PROVIDED HEREIN IS FOR THE PURPOSES OF ESTIMATES ONLY. THIS INFORMATION SHOULD NOT BE USED FOR FINAL DESIGN PURPOSES. LEGACY CHILLER SYSTEMS, INC RECOMMENDS THAT FINAL SYSTEM DESIGN BE REVIEWED BY A QUALIFIED DESIGN BUILD CONTRACTOR OR ENGINEER FAMILIAR WITH ALL LOCAL CODE REQUIREMENTS FOR CHILLER AND ASSOCIATED WATER DISTRIBUTION SYSTEMS. LEGACY CHILLER SYSTEMS SHALL NOT BE HELD LIABLE (EXPRESSED OR IMPLIED) FOR THE ACCURACY OF THIS INFORMATION NOR ITS COMPLIANCE WITH LOCAL/STATE AND/OR FEDERAL CODES . SystemSyzer version (v3.0).

## Site
Contact Information | Project Information
Company | Project name:
Contact | Prepared by:
Work phone | Site address:
Cell phone | Site city:
Email | Site zip
Address
City
State
Zip
About this page
It is important that you input basic information about your project into SystemSyzer in order for the system to accurately perform your calculations.
SystemSyzer
Help Center
Site Information
Conditions
Process Input
Data Output
Home

## Conditions
1. If you are running your chiller outdoors, what is the coldest outdoor temperature you expect? | ?
2. What percentage glycol would you like to run? | ?
3. At what voltage and phase would you like your chiller to run? | ?
Note on B5: By providing this information Legacy will be able to advise you on specific option you may need when you are ready for a quote.
Note on B7: Propylene Glycol freeze points: 5% = 30F 10% = 28F 15%= 24F 20%= 18F 25% = 15F 30% = 9F 35% = 5F 40% = -5F 45% = -20F 50% = -30F Note: Freeze point table above is ESTIMATED. Actual freeze points will vary depending on brand.
Note on B9: Listed in the selection box are the most common power configurations available. If you do not see your requirement on the list - not to worry at this time. In many cases, Legacy can provide special voltage systems for our customers.
About this page
In order to perform computations for application SystemSyzer needs some basic information on your operating conditions.
SystemSyzer
Help Center
Site Information
Conditions
Process Input
Data Output
Home

## ProcessInput
Load> |  |  | 1 |  |  | 2 |  |  |  | 3
Max flow(GPM)
Temp to load(F)
Est load temp rise(F)
Pressure to load (PSI)
Load pressure drop(PSI)
Tolerance range +/-(F)
Branch pipe length(FT)
Branch fittings count
|  |  |  | >>> |  |  | >>>
Supply Header
| <<<< | 50 | >>>> |  | <<<< | >>>> |  | <<<< |  | >>>>
|  | <<< | [6 empty] | <<<
Return Header
Note on C17: Load#1: Select header distance (one way) from chiller to load #1 from drop down list.
Note on D4: Load#1: Select design branch GPM from drop down list.
Note on D5: Load#1: Select max branch flow to process from drop down list. NOTE: Since Loads 2 and 3 are serviced by the same supply header, this value will be carried over.
Note on D6: Load#1: Select estimated branch temp rise between I/O of process from drop down list
Note on D7: Load#1: Select design branch supply pressure from drop down list.
Note on D8: Load#1: Select branch design I/O pressure drop from drop down list.
Note on D9: Load#1: Select max allowable branch process temperature range from drop down list. NOTE: Since Loads 2 and 3 are serviced by the same supply header, this value will be carried over.
Note on D10: Load#1: Select ONE WAY branch pipe length from header to process load from drop down list.
Note on D11: Load#1: Select number of fittings for this branch. If you to not know, use one fitting for each foot of branch.
Note on G17: Load#2: Select header distance (one way) from Load#1 to load #2 from drop down list.
Note on H4: Load#2: Select design branch GPM from drop down list.
Note on H6: Load#2: Select estimated branch temp rise between I/O of process from drop down list
Note on H7: Load#2: Select design branch supply pressure from drop down list.
Note on H8: Load#2: Select branch design I/O pressure drop from drop down list.
Note on H10: Load#2: Select ONE WAY branch pipe length from header to process load from drop down list.
Note on H11: Load#2: Select number of fittings for this branch. If you to not know, use one fitting for each foot of branch.
Note on K17: Load#2: Select header distance (one way) from Load#2 to load #3 from drop down list.
Note on L4: Load#3: Select design branch GPM from drop down list.
Note on L6: Load#3: Select estimated branch temp rise between I/O of process from drop down list
Note on L7: Load#3: Select design branch supply pressure from drop down list.
Note on L8: Load#3: Select branch design I/O pressure drop from drop down list.
Note on L10: Load#3: Select ONE WAY branch pipe length from header to process load from drop down list.
Note on L11: Load#3: Select number of fittings for this branch. If you to not know, use one fitting for each foot of branch.
Site Information
Conditions
Process Input
Data Output
Home
About this page
Use this universal layout graphic to input information about your system. Left click on the cell and select input date from the drop down box.
SystemSyzer
Help Center

## Output_basic
Load> |  | 1 |  |  |  | 2 |  |  |  | 3
Branch Load BTUH
Branch Load KWH
Branch Load TONS
Branch PD (PSI)
Branch PD (FT)
Branch Fluid Volume
| Supply |  | Return |  | Supply |  | Return |  | Supply |  | Return
| " |  | " |  | " |  | " |  | " |  | "
|  | "Pipe | >>> |  |  | "Pipe | >>> |  |  | "Pipe | >>>
|  | GPM |  |  |  | GPM |  |  |  | GPM
| <<< |  |  | "Pipe | <<< |  |  | "Pipe | <<< |  |  | "Pipe
|  |  |  | GPM |  |  |  | GPM |  |  |  | GPM
| Total BTUH Needed: |  |  | 0 |  | System Pump GPM: |  |  |  | 0
| Total tons needed: |  |  | 0 |  | System Pump Head: |  |  |  | 0
| Design Chiller Outlet Temp (F) |  |  | 0 |  | Estimated Chiller Suction Temp (F)
Recommended Critical Options for Air-Cooled Condenser
| Variable Fan Speed Control (20F) |  |  |  |  | Glycol - Upgraded Evaporator
| Flooded Condenser (0F) |  |  |  |  | Evaporator Heater
| Flooded Condenser-Heated (-10F) |  |  |  |  | Pump head heaters
Note on C16: Recommended minimum inside diameter (I.D.) pipe size for this supply header section.
Note on C17: Estimated flow rate for this supply header section.
Note on E19: Recommended minimum inside diameter (I.D.) pipe size for this return header section.
Note on E20: Estimated flow rate for this return header section.
Note on F21: Total estimated BTUH chiller load based on the informaiton you have provided. Note: This value has been adjusted for stated glycol percentage selected on the "Conditions" page.
Note on F22: Total estimated chiller load in TONS of refrigeration. Note: There are 12,000 BTU's in ONE TON of refrigeration.
Note on F23: Design chiller fluid leaving temperature
Note on F25: Variable Fan Speed Control: When ambient reaches about 20F or below, this option will reduce condenser fan speed helping to maintain compressor head pressure. If field indicates YES, this option should be selected in Quote Wizard.
Note on F26: Flooded Condenser: When ambient reaches about 0F or below, this option will backup liquid refrigerant into condenser helping to maintain compressor head pressure. If field indicates YES, this option should be selected in Quote Wizard.
Note on F27: Flooded Condenser - Heated: When ambient reaches about -10F, this option will backup liquid refrigerant into condenser helping to maintain compressor head pressure. Option is the same as standard flooded condenser with thermostatically controlled heaters applied to liquid refrigerant receiver. These heaters help to prevent over subcooling of refrigerant that can cause low suction safety shutdowns. This options is effective to about -20F. If field indicates YES, this option should be selected in Quote Wizard.
Note on G16: Recommended minimum inside diameter (I.D.) pipe size for this supply header section.
Note on G17: Estimated flow rate for this supply header section.
Note on I19: Recommended minimum inside diameter (I.D.) pipe size for this return header section.
Note on I20: Estimated flow rate for this return header section.
Note on K16: Recommended minimum inside diameter (I.D.) pipe size for this supply header section.
Note on K17: Estimated flow rate for this supply header section.
Note on L21: Total estimated process flow(GPM) requirement based on the information you have provided. NOTE: A x 1.10 bypass factor has been added to prevent pump overheating.
Note on L22: Total process pressure drop (Feet) based on the information you have provided.
Note on L23: Refrigerant suction temp, is needed to select chiller capacity. Note: Suction temp is commonly about 10F lower than you Design Chiller Outlet Temp.
Note on L25: Glycol - upgraded Evaportor: For systems running glycol concentrations above 20% (by Volume), this options is recommended to counteract chiller heat transfer losses from glycol. If field indicates YES, this option should be selected in Quote Wizard.
Note on L26: Evaportor Heater: For systems running glycol in low ambient conditions, this options will help prevent evaporator freeze ups. If field indicates YES, this option should be selected in Quote Wizard.
Note on L27: Pump Head Heaters: For systems running glycol at low process fluid temps, this option will help to prevent ice crystals from building up on pump seals that can cause eventual seal failure. If field indicates YES, please ask your Legacy Sales Engineer to quote this option. This options is not available on all pump models
Note on M19: Recommended minimum inside diameter (I.D.) pipe size for this return header section.
Note on M20: Estimated flow rate for this return header section.
Site Information
Conditions
Process Input
Data Output
Home
About this page
On this page you can review the advanced engineering calculates provided by SystemSyzer. Contact Legacy Engineering for equipment and option selections
877-988-5464.
SystemSyzer
Help Center
Get A Quote

## Output_quote
Contact Information |  | Project Information
Company | 0 | Project name: | 0
Contact | 0 | Prepared by: | 0
Work phone | 0 | Site address: | 0
Cell phone | 0 | Site city: | 0
Email | 0 | Site zip | 0
Address | 0 | Comments: <Enter any comments / questions here. >
City | 0
State | 0
Zip | 0
Chiller Performance Requirements |  | Chiller Pump Requirements
BTUH Requirement | 0 | System pump GPM | 0
Tonnage | 0 | System pump HEAD | 0
Variance Allowance(F)
Glycol (%) | 20%
Design LWT (F)
Home
Conditions
Process Input
Economizer
Data Output
Site Information
Quote Request
Please fax to: 240-214-8303
IMPORTANT: Please make sure to write your contact information in below or click on the "Site Information" link above to input your contact and project information.
Instructions : Based on the information you have provided to SystemSyzer Legacy can now provided you with a quote should you need one. If you wish to get a quote you have two options to chose from:
Option #1: Print and fax this page to the number provided at the top of the screen. Within 24-48 hours one of our Engineers will provide you with a written quote. If there are any follow-up questions we will be in contact.
Option#2: You can log into our on-line Quote Wizard system. I access our on-line Quote Wizard system click the "Go To Quote Wizard" link above.
Go to Quote Wizard

## Page #3 (Data output) (hidden)
Step#4 - Data input sheet
Supply header | Branch load# | 1 | 2 | 3
Branch load name
Max flow(GPM)
Temp to load(F)
Est load temp rise(F)
Pressure to load (PSI)
Load pressure drop(PSI)
Tolerance range +/-(F)
Branch pipe length(FT)
Branch fittings count
Branch pipe size
Branch pipe gallons
Branch pressure drop(PSI)
Branch BTUH
Headers
Point header GPM>
Point header pipe size>
| Distance(FT)> | 50 | 0 | 0
| From/To> | Chiller -1 | 1-2 | 2-3
Return header | Branch load# | 1 | 2 | 3
Temp out(F)
Pressure (PSI)
| SYSTEM INFORMATION |  | CHILLER SYSTEM ADJUSTMENTS |  |  | COMMENTS
| Chiller BTUH | 0 | Chiller BTUH (Water) |  | 0
| Chiller TONS | 0 | Glycol concentration |  | 20%
| Chiller flow rate(GPM) | 0 | Glycol factor in (BTUH) |  | 0.014
|  |  | Glycol loss(BTUH) |  | 0
| Total header piping | 100 | Glycol capacity(BTUH) |  | 0
| Total branch piping | 0 | Glycol capacity(TONS) |  | 0
| Total piping | 100
|  |  | Total system drop(PSI) |  | 0
| Total header gallons | 0 | Glycol factor on (PSI) |  | 1.08
| Total branch gallons | 0 | Added glycol head(PSI) |  | 0
| Total loop gallons | 0 | Total external(Head) |  | 0
| Total header drop(PSI) | 0 | Average load approach(F)
| Max branch drop(PSI) | 0 | Change from ARI(F)
| Total system drop(PSI) | 0 | ARI btuh adjustment
| Total system drop(Feet) | 0
TOTAL Adjusted (BTUH)
| Avg Loop tolerance(F) |  | TOTAL Adjusted (TONS)
|  |  | TOTAL system flow rate(GPM) |  | 0
|  |  | TOTAL pump (HEAD) |  | 0
Note on B12: Estimated pipe size of branch piping in inches.
Note on B13: Estimated gallons of fluid in branch piping. Note: This does NOT include fluid in load or filter systems.
Note on B14: Estimated branch pressure drop
Note on B15: Estimated branch BTUH.
Note on C26: Estimated BTUH requirement for chiller BEFORE adjustments.
Note on C27: Estimated Tonnage requirement for chiller BEFORE adjustments. Formula BTUH/12,000
Note on C28: Estimated loop flow rate (Gallons per minute) requirement for chiller BEFORE adjustments.
Note on C30: Estimated supply and return header piping length in feet
Note on C31: Estimated supply and return branch piping length in feet.
Note on C32: Estimated TOTAL supply and return piping length in feet.
Note on C34: Estimated supply and return header piping fluid volume. Number represents how many gallons fo fluid are contained in header supply and return piping.
Note on C35: Estimated supply and return branch piping fluid volume. Number represents how many gallons fo fluid are contained in branch supply and return piping.
Note on C36: Estimated TOTAL supply and return branch piping fluid volume for the entire system.
Note on C38: Estimated total header pressure drop in pounds per square inch (PSI).
Note on C39: Estimated total branch pressure drop in pounds per square inch (PSI).
Note on C40: Estimatedtotal system pressure drop in pounds per square inch (PSI).
Note on C41: Estimated total system pressure drop in feet of head. Formula head = psi x 2.31
Note on C43: Estimated loop temperature variance tollerance. For example if the chiller set point is 50F a tollerance of 2.0F would mean the load(s) in to this loop can accept system fluid as warm as 52F and as cold as 48F.
Note on F26: Estimated BTUH using water only in the cooling loop
Note on F27: Estimated % glycol selected on page #1.
Note on F28: Estimated cooling loss factor at the above glycol %.
Note on F29: Estimated BTUH cooling loss using the % glycol.
Note on F30: Estimated ajusted BTUH cooling requirement of chiller using the % glycol.
Note on F31: Estimated ajusted TONNAGE cooling requirement of chiller using the % glycol.
Note on F33: Estimated total system pressure loss using water only.
Note on F34: Estimated adjustment factor for the % glycol.
Note on F35: Additional pressure drop from stated glycol percentage selected on page #1
Note on F36: Estimated total system pressure drop after adjusting for glycol in feet of head. Formula: Head = PSI x 2.31
Note on F38: Estimated average supply temperature requirement for all loads in loop.
Note on F39: Estimated variance off ARI standard of 45F. Value represents the whole number of degrees F this system is above / below ARI standard.
Note on F40: Estimate based on the number of degrees F above or below ARI standard. This value represents the increase/reduction in chiller capacity requirement based on average loop temperature requirement. Example: If the chiller is required to produce leaving fluid cooler than ARI standard (45F) the chiller capacity would need to be increased to compensate. Likewise the opposite would happen of the chiller leaving fluid is warmer than 45F.
Note on F42: Estimated final chiller cooling requirement in btuh
Note on F43: Estimated final chiller cooling requirement in tons. Formula" Tons = BTUH / 12.000
Note on F44: Estimated final total loop flow rate in Gallons Per Minute
Note on F45: Estimated total loop head. Head = PSI x 2.31
Important information:
1. Total Adjusted (BTUH) does not take into account the ambient temperature the chiller will be exposed to. If outdoor ambient temperature is expected to be warmer than 95F the chiller capacity will need to be higher to produce the same amount of capacity.
2. Total pump (HEAD) does not include internal pressure drop of the chillers internal piping or components. Customers who wish to purchase TANKLESS chiller platforms such as the PAC or ES (split) need allow for the chillers internal pressure drop. Customer who wish to purchase chiller with internal tank sections such as the PACT or EST do NOT need to allow for internal chiller pressure drop.
For more in depth technical information visit www.legacychillers.com and go to our Knowledgebase system or call Legacy Engineering support toll free at 877-988-5464.
************** Please review additional information below **************

## General_tables (hidden)
no | where
1 | Indoor
2 | Outdoors
no | where | where | 5 | 20%
1 | 0%
2 | 5%
3 | 10%
4 | 15%
5 | 20%
6 | 25%
7 | 30%
8 | 35%
9 | 40%
10 | 45%
11 | 50%
Glycol consentration | Glycol factor in (BTUH) | Glycol factor in (BTUH) | 5 | 0.986
1 | 0
2 | 0.998
3 | 0.995
4 | 0.992
5 | 0.986
6 | 0.972
7 | 0.96
8 | 0.95
9 | 0.928
10 | 0.89
11 | 0.878
Glycol consentration | Glycol factor on (PSI) | Glycol factor on (PSI) | 5 | 1.08
1 | 0
2 | 1.01
3 | 1.02
4 | 1.04
5 | 1.08
6 | 1.13
7 | 1.21
8 | 1.26 |  | #N/A
9 | 1.47
10 | 2.25
11 | 2.79
| Outdoor ambient |  |  |  | Variable Fan Recommendation |  |  | Flooded Cond Recommendation |  |  | Heated Flooded Cond Recommendation
1 | 60F | Outdoor ambient | 2 |  | Outdoor ambient |  | Rec | 0 |  | Rec | 0 |  | Rec
2 | 50F |  |  |  | 1 | NO |  | 1 | NO |  | 1 | NO
3 | 40F |  |  |  | 2 | NO |  | 2 | NO |  | 2 | NO
4 | 30F |  |  |  | 3 | YES |  | 3 | YES |  | 3 | NO
5 | 20F |  |  |  | 4 | YES |  | 4 | YES |  | 4 | NO
6 | 10F |  |  |  | 5 | YES |  | 5 | YES |  | 5 | NO
7 | 0F |  |  |  | 6 | YES |  | 6 | NO |  | 6 | YES
9 | -10F |  |  |  | 7 | YES |  | 7 | NO |  | 7 | YES
10 | -20F |  |  |  | 8 | YES |  | 8 | NO |  | 8 | YES
11 | -30F |  |  |  | 9 | YES |  | 9 | NO |  | 9 | YES
[5 empty] | 10 | YES |  | 10 | NO |  | 10 | YES
| Voltage/Phase |  |  |  | GLYCOL Adder with 404A |  |  | EVAP HEAT TAPE |  |  | PUMP HEAD HEATING |  |  | 0
1 | 208/230/1ph/60HZ |  |  |  | 0 | NO | Rec | NO |  | Rec | -10 | YES | Rec
2 | 208/230/3ph/60HZ |  |  |  | 1 | NO |  | 1 | NO |  | -9 | YES
3 | 460/480/3ph/60HZ |  |  |  | 2 | NO |  | 2 | NO |  | -8 | YES
4 | 575/3ph/60HZ |  |  |  | 3 | NO |  | 3 | NO |  | -7 | YES
5 | 380/3ph/50HZ |  |  |  | 4 | NO |  | 4 | NO |  | -6 | YES
[5 empty] | 5 | NO |  | 5 | NO |  | -5 | YES
[5 empty] | 6 | YES |  | 6 | YES |  | -4 | YES
[5 empty] | 7 | YES |  | 7 | YES |  | -3 | YES
[5 empty] | 8 | YES |  | 8 | YES |  | -2 | YES
[5 empty] | 9 | YES |  | 9 | YES |  | -1 | YES
[5 empty] | 10 | YES |  | 10 | YES |  | 0 | YES
[5 empty] | 11 | YES |  |  |  |  | 1 | NO
[11 empty] | 2 | NO
[11 empty] | 3 | NO
[11 empty] | 4 | NO
[11 empty] | 5 | NO
[11 empty] | 6 | NO
[11 empty] | 7 | NO
[11 empty] | 8 | NO
[11 empty] | 9 | NO
[11 empty] | 10 | NO
[11 empty] | 11 | NO
[11 empty] | 12 | NO
[11 empty] | 13 | NO
[11 empty] | 14 | NO
[11 empty] | 15 | NO
[11 empty] | 16 | NO
[11 empty] | 17 | NO
[11 empty] | 18 | NO
[11 empty] | 19 | NO
[11 empty] | 20 | NO
[11 empty] | 21 | NO
[11 empty] | 22 | NO
[11 empty] | 23 | NO
[11 empty] | 24 | NO
[11 empty] | 25 | NO
[11 empty] | 26 | NO
[11 empty] | 27 | NO
[11 empty] | 28 | NO
[11 empty] | 29 | NO
[11 empty] | 30 | NO
[11 empty] | 31 | NO
[11 empty] | 32 | NO
[11 empty] | 33 | NO
[11 empty] | 34 | NO
[11 empty] | 35 | NO
[11 empty] | 36 | NO
[11 empty] | 37 | NO
[11 empty] | 38 | NO
[11 empty] | 39 | NO
[11 empty] | 40 | NO
[11 empty] | 41 | NO
[11 empty] | 42 | NO
[11 empty] | 43 | NO
[11 empty] | 44 | NO
[11 empty] | 45 | NO
[11 empty] | 46 | NO
[11 empty] | 47 | NO
[11 empty] | 48 | NO
[11 empty] | 49 | NO
[11 empty] | 50 | NO
[11 empty] | 51 | NO
[11 empty] | 52 | NO
[11 empty] | 53 | NO
[11 empty] | 54 | NO
[11 empty] | 55 | NO
[11 empty] | 56 | NO
[11 empty] | 57 | NO
[11 empty] | 58 | NO
[11 empty] | 59 | NO
[11 empty] | 60 | NO
[11 empty] | 61 | NO
[11 empty] | 62 | NO
[11 empty] | 63 | NO
[11 empty] | 64 | NO
[11 empty] | 65 | NO
[11 empty] | 66 | NO
[11 empty] | 67 | NO
[11 empty] | 68 | NO
[11 empty] | 69 | NO
[11 empty] | 70 | NO
[11 empty] | 71 | NO
[11 empty] | 72 | NO
[11 empty] | 73 | NO
[11 empty] | 74 | NO
[11 empty] | 75 | NO
[11 empty] | 76 | NO
[11 empty] | 77 | NO
[11 empty] | 78 | NO
[11 empty] | 79 | NO
[11 empty] | 80 | NO

## ARI_ADJ (hidden)
Chiller TONS | Per_deg_f | Calc | Std_dev | 0 | 10 | 20 | 30 | 40 | 50 |  | Per_deg_f | 0 | #N/A
1 | 338.9359 | 376.5954 | 4184.3932 | 6875 | 8603 | 10620 | 12883 | 15351 | 17987
2 | 611.6871 | 679.6523 | 6796.5231 |  | 15160 | 18809 | 22953 | 27481 | 32286 |  | table _adj | 0.9
3 | 1005.303 | 1117.0034 | 11170.0337 |  | 25668 | 31896 | 38613 | 45882 | 53952
4 | 1250.4052 | 1389.3391 | 13893.3911 |  | 32603 | 37707 | 45237 | 55023 | 67314
5 | 1474.2894 | 1638.0993 | 16380.9931 |  | 38510 | 47050 | 56924 | 67863 | 79798
6 | 1786.7634 | 1985.2927
7 | 2099.2374 | 2332.486 | 23324.8599 |  |  | 79853 | 96011 | 114226 | 133947
8 | 2339.112 | 2599.0133
9 | 2578.9866 | 2865.5407
10 | 2818.8612 | 3132.068 | 31320.6803 |  | 75078 | 92357 | 111230 | 131812 | 154264
11 | 2973.0519 | 3303.391
12 | 3127.2427 | 3474.7141
13 | 3281.4334 | 3646.0371
14 | 3435.6241 | 3817.3601
15 | 3589.8148 | 3988.6831 | 39886.831 |  | 98604 | 118270 | 161965 | 185938
16 | 4017.938 | 4464.3755
17 | 4446.0611 | 4940.0679
18 | 4874.1843 | 5415.7604
19 | 5302.3075 | 5891.4528
20 | 5730.4307 | 6367.1452 | 63671.4521 |  | 150814 | 185812 | 223940 | 264400 | 312490
21 | 5826.3373 | 6473.7081
22 | 5922.2439 | 6580.271
23 | 6018.1505 | 6686.8339
24 | 6114.0571 | 6793.3968
25 | 6209.9637 | 6899.9597 | 68999.5971 |  | 197844 | 237312 | 280082 | 325092 | 372028
26 | 7136.962 | 7929.9578
27 | 8063.9602 | 8959.9558
28 | 8990.9585 | 9989.9539
29 | 9917.9567 | 11019.9519
30 | 10844.955 | 12049.95 | 120499.4995 | 208462 | 256888 | 314810 | 380058 | 450856 | 528450
31 | 11138.5293 | 12376.1437
32 | 11432.1037 | 12702.3375
33 | 11725.6781 | 13028.5312
34 | 12019.2525 | 13354.725
35 | 12312.8269 | 13680.9188
36 | 12606.4013 | 14007.1125
37 | 12899.9757 | 14333.3063
38 | 13193.5501 | 14659.5001 | 146595.0006 | 257194 | 314806 | 383810 | 462004 | 549996 | 646704 | 4666.9825 | 862.3235
39 | 13456.0678 | 14951.1865
40 | 13718.5856 | 15242.8729
41 | 13981.1034 | 15534.5593
42 | 14243.6211 | 15826.2457
43 | 14506.1389 | 16117.9321
44 | 14768.6567 | 16409.6185
45 | 15031.1744 | 16701.3049
46 | 15293.6922 | 16992.9913
47 | 15556.21 | 17284.6777
48 | 15818.7277 | 17576.3641
49 | 16081.2455 | 17868.0505
50 | 16343.7633 | 18159.737
51 | 16606.281 | 18451.4234
52 | 16868.7988 | 18743.1098
53 | 17131.3166 | 19034.7962
54 | 17393.8343 | 19326.4826 | 193264.8259 | 367388 | 445306 | 539024 | 647098 | 758786 | 878910
55 | 17566.177 | 19517.9745
56 | 17738.5198 | 19709.4664
57 | 17910.8625 | 19900.9583
58 | 18083.2052 | 20092.4502
59 | 18255.5479 | 20283.9421 | 202839.421 | 416360 | 498596 | 596844 | 704848 | 828486 | 953546
60 | 18704.7517 | 20783.0574
61 | 19153.9554 | 21282.1727
62 | 19603.1592 | 21781.288
63 | 20052.363 | 22280.4033
64 | 20501.5668 | 22779.5187
65 | 20950.7706 | 23278.634
66 | 21175.3725 | 23528.1916
67 | 21399.9744 | 23777.7493
68 | 21849.1781 | 24276.8646
69 | 22298.3819 | 24775.9799
70 | 22747.5857 | 25275.0952
71 | 23196.7895 | 25774.2105
72 | 23645.9933 | 26273.3258 | 262733.2585 | 511334 | 614354 | 738578 | 882670 | 1039886 | 1206748
73 | 24072.8962 | 26747.6624
74 | 24499.799 | 27221.9989
75 | 24926.7019 | 27696.3355
76 | 25353.6048 | 28170.672
77 | 25780.5077 | 28645.0086
78 | 26207.4106 | 29119.3451
79 | 26634.3135 | 29593.6817
80 | 27061.2164 | 30068.0182 | 300680.182 | 561896 | 691812 | 838142 | 1001960 | 1176084 | 1361362
81 | 27312.4056 | 30347.1173
82 | 27563.5947 | 30626.2164
83 | 27814.7839 | 30905.3155
84 | 28065.9731 | 31184.4146
85 | 28317.1623 | 31463.5136
86 | 28568.3515 | 31742.6127
87 | 28819.5406 | 32021.7118
88 | 29070.7298 | 32300.8109
89 | 29321.919 | 32579.91
90 | 29573.1082 | 32859.0091
91 | 29824.2974 | 33138.1082
92 | 30075.4866 | 33417.2073
93 | 30326.6757 | 33696.3064
94 | 30577.8649 | 33975.4055
95 | 30829.0541 | 34254.5045
96 | 31080.2433 | 34533.6036
97 | 31331.4325 | 34812.7027
98 | 31582.6216 | 35091.8018
99 | 31833.8108 | 35370.9009
100 | 32085 | 35650

## Header_tables (hidden)
TABLE TO DETERMINE PRESSURE DROP FOR PIPE |  | Branch pipe size | pipe_drop | Fitting_drop
Branch pipe size | pipe_drop |  | #N/A | #N/A
0.5 | 16.4
0.75 | 10
1 | 15.5 | Distance(FT)> | 50 | 0 | 0
1.25 | 16 | Point header pipe size>
1.5 | 15.5 | pipe_drop
2 | 11 | Section pressure drop
2.5 | 16 | GPF
3 | 15 | Section gallons
3.5 | 14 | Total header gallons | 0
5 | 14
6 | 14
8 | 14 | Total Header drop | 0
10 | 14 | Total Header gallons | 0
12 | 14
14 | 14
TABLE TO DETERMINE PRESSURE DROP FOR FITTINGS
Branch pipe size | Fitting_drop
0.5 | 1.5
0.75 | 2
1 | 2.5
1.25 | 3
1.5 | 3
2 | 3
2.5 | 3
3 | 3
3.5 | 3
5 | 3
6 | 3
8 | 3
10 | 3
12 | 3
14 | 3
TABLE TO DETERMINE PIPE SIZE
Point header GPM> | Point header pipe size> | Gallons per foot of pipe
1 | 1 | Header size | GPF
2 | 1 | 0.5 | 0.48
3 | 1 | 0.75 | 0.1
4 | 1 | 1 | 0.1768
5 | 1 | 1.25 | 0.262
6 | 1 | 1.5 | 0.37
7 | 1 | 2 | 6.44
8 | 1 | 2.5 | 0.988
9 | 1 | 3 | 1.416
10 | 1 | 3.5 | 1.912
11 | 1 | 5 | 2.25
12 | 1 | 6 | 3.25
13 | 1 | 8 | 3.38
14 | 1 | 10 | 4.25
15 | 1 | 12 | 4.65
16 | 1.25 | 14 | 5.25
17 | 1.25
18 | 1.25
19 | 1.25
20 | 1.25
21 | 1.25
22 | 1.25
23 | 1.25
24 | 1.25
25 | 1.25
26 | 1.25
27 | 1.25
28 | 1.25
29 | 1.25
30 | 1.25
31 | 1.5
32 | 1.5
33 | 1.5
34 | 1.5
35 | 1.5
36 | 1.5
37 | 1.5
38 | 1.5
39 | 1.5
40 | 1.5
41 | 1.5
42 | 1.5
43 | 1.5
44 | 1.5
45 | 1.5
46 | 1.5
47 | 1.5
48 | 1.5
49 | 1.5
50 | 1.5
51 | 1.5
52 | 1.5
53 | 1.5
54 | 1.5
55 | 1.5
56 | 1.5
57 | 1.5
58 | 1.5
59 | 1.5
60 | 1.5
61 | 2
62 | 2
63 | 2
64 | 2
65 | 2
67 | 2
68 | 2
69 | 2
70 | 2
71 | 2
72 | 2
73 | 2
74 | 2
75 | 2
76 | 2
77 | 2
78 | 2
79 | 2
80 | 2
81 | 2
82 | 2
83 | 2
84 | 2
85 | 2
86 | 2
87 | 2
88 | 2
89 | 2
90 | 2
91 | 2
92 | 2
93 | 2
94 | 2
95 | 2
96 | 2
97 | 2
98 | 2
99 | 2
100 | 2
101 | 2.5
102 | 2.5
103 | 2.5
104 | 2.5
105 | 2.5
106 | 2.5
107 | 2.5
108 | 2.5
109 | 2.5
110 | 2.5
111 | 2.5
112 | 2.5
113 | 2.5
114 | 2.5
115 | 2.5
116 | 2.5
117 | 2.5
118 | 2.5
119 | 2.5
120 | 2.5
121 | 2.5
122 | 2.5
123 | 2.5
124 | 2.5
125 | 2.5
126 | 2.5
127 | 2.5
128 | 2.5
129 | 2.5
130 | 2.5
131 | 2.5
132 | 2.5
133 | 2.5
134 | 2.5
135 | 2.5
136 | 2.5
137 | 2.5
138 | 2.5
139 | 2.5
140 | 2.5
141 | 2.5
142 | 2.5
143 | 2.5
144 | 2.5
145 | 2.5
146 | 2.5
147 | 2.5
148 | 2.5
149 | 2.5
150 | 2.5
151 | 2.5
152 | 2.5
153 | 2.5
154 | 2.5
155 | 2.5
156 | 2.5
157 | 2.5
158 | 2.5
159 | 2.5
160 | 2.5
161 | 2.5
162 | 2.5
163 | 2.5
164 | 2.5
165 | 2.5
166 | 2.5
167 | 2.5
168 | 2.5
169 | 2.5
170 | 2.5
171 | 2.5
172 | 2.5
173 | 2.5
174 | 2.5
175 | 2.5
176 | 2.5
177 | 2.5
178 | 2.5
179 | 2.5
180 | 2.5
181 | 2.5
182 | 2.5
183 | 2.5
184 | 2.5
185 | 2.5
186 | 2.5
187 | 2.5
188 | 2.5
189 | 2.5
190 | 2.5
191 | 2.5
192 | 2.5
193 | 2.5
194 | 2.5
195 | 2.5
196 | 2.5
197 | 2.5
198 | 2.5
199 | 2.5
200 | 2.5
201 | 3
202 | 3
203 | 3
204 | 3
205 | 3
206 | 3
207 | 3
208 | 3
209 | 3
210 | 3
211 | 3
212 | 3
213 | 3
214 | 3
215 | 3
216 | 5
217 | 5
218 | 5
219 | 5
220 | 5
221 | 5
222 | 5
223 | 5
224 | 5
225 | 5
226 | 6
227 | 6
228 | 6
229 | 6
230 | 6
231 | 6
232 | 6
233 | 6
234 | 6
235 | 6
236 | 6
237 | 6
238 | 6
239 | 6
240 | 6
241 | 6
242 | 6
243 | 6
244 | 6
245 | 6
246 | 6
247 | 6
248 | 6
249 | 6
250 | 6
251 | 6
252 | 8
253 | 8
254 | 8
255 | 8
256 | 8
257 | 8
258 | 8
259 | 8
260 | 8
261 | 8
262 | 8
263 | 8
264 | 8
265 | 8
266 | 8
267 | 8
268 | 8
269 | 8
270 | 8
271 | 8
272 | 8
273 | 8
274 | 8
275 | 8
276 | 8
277 | 8
278 | 8
279 | 8
280 | 8
281 | 8
282 | 8
283 | 8
284 | 8
285 | 8
286 | 8
287 | 8
288 | 8
289 | 8
290 | 8
291 | 8
292 | 8
293 | 8
294 | 8
295 | 8
296 | 8
297 | 8
298 | 8
299 | 8
300 | 8
301 | 8
302 | 8
303 | 8
304 | 8
305 | 8
306 | 8
307 | 8
308 | 8
309 | 8
310 | 8
311 | 8
312 | 8
313 | 8
314 | 8
315 | 8
316 | 8
317 | 8
318 | 8
319 | 8
320 | 8
321 | 8
322 | 8
323 | 8
324 | 8
325 | 8
326 | 8
327 | 8
328 | 8
329 | 8
330 | 8
331 | 8
332 | 8
333 | 8
334 | 8
335 | 8
336 | 8
337 | 8
338 | 8
339 | 8
340 | 8
341 | 8
342 | 8
343 | 8
344 | 8
345 | 8
346 | 8
347 | 8
348 | 8
349 | 8
350 | 8
351 | 8
352 | 8
353 | 8
354 | 8
355 | 8
356 | 8
357 | 8
358 | 8
359 | 8
360 | 8
361 | 8
362 | 8
363 | 8
364 | 8
365 | 8
366 | 8
367 | 8
368 | 8
369 | 8
370 | 8
371 | 8
372 | 8
373 | 8
374 | 8
375 | 8
376 | 8
377 | 8
378 | 8
379 | 8
380 | 8
381 | 8
382 | 8
383 | 8
384 | 8
385 | 8
386 | 8
387 | 8
388 | 8
389 | 8
390 | 8
391 | 8
392 | 8
393 | 8
394 | 8
395 | 8
396 | 8
397 | 8
398 | 8
399 | 8
400 | 8
401 | 10
402 | 10
403 | 10
404 | 10
405 | 10
406 | 10
407 | 10
408 | 10
409 | 10
410 | 10
411 | 10
412 | 10
413 | 10
414 | 10
415 | 10
416 | 10
417 | 10
418 | 10
419 | 10
420 | 10
421 | 10
422 | 10
423 | 10
424 | 10
425 | 10
426 | 10
427 | 10
428 | 10
429 | 10
430 | 10
431 | 10
432 | 10
433 | 10
434 | 10
435 | 10
436 | 10
437 | 10
438 | 10
439 | 10
440 | 10
441 | 10
442 | 10
443 | 10
444 | 10
445 | 10
446 | 10
447 | 10
448 | 10
449 | 10
450 | 10
451 | 10
452 | 10
453 | 10
454 | 10
455 | 10
456 | 10
457 | 10
458 | 10
459 | 10
460 | 10
461 | 10
462 | 10
463 | 10
464 | 10
465 | 10
466 | 10
467 | 10
468 | 10
469 | 10
470 | 10
471 | 10
472 | 10
473 | 10
474 | 10
475 | 10
476 | 10
477 | 10
478 | 10
479 | 10
480 | 10
481 | 10
482 | 10
483 | 10
484 | 10
485 | 10
486 | 10
487 | 10
488 | 10
489 | 10
490 | 10
491 | 10
492 | 10
493 | 10
494 | 10
495 | 10
496 | 10
497 | 10
498 | 10
499 | 10
500 | 10
501 | 10
502 | 10
503 | 10
504 | 10
505 | 10
506 | 10
507 | 10
508 | 10
509 | 10
510 | 10
511 | 10
512 | 10
513 | 10
514 | 10
515 | 10
516 | 10
517 | 10
518 | 10
519 | 10
520 | 10
521 | 10
522 | 10
523 | 10
524 | 10
525 | 10
526 | 10
527 | 10
528 | 10
529 | 10
530 | 10
531 | 10
532 | 10
533 | 10
534 | 10
535 | 10
536 | 10
537 | 10
538 | 10
539 | 10
540 | 10
541 | 10
542 | 12
543 | 12
544 | 12
545 | 12
546 | 12
547 | 12
548 | 12
549 | 12
550 | 12
551 | 12
552 | 12
553 | 12
554 | 12
555 | 12
556 | 12
557 | 12
558 | 12
559 | 12
560 | 12
561 | 12
562 | 12
563 | 12
564 | 12
565 | 12
566 | 12
567 | 12
568 | 12
569 | 12
570 | 12
571 | 12
572 | 12
573 | 12
574 | 12
575 | 12
576 | 12
577 | 12
578 | 12
579 | 12
580 | 12
581 | 12
582 | 12
583 | 12
584 | 12
585 | 12
586 | 12
587 | 12
588 | 12
589 | 12
590 | 12
591 | 12
592 | 12
593 | 12
594 | 12
595 | 12
596 | 12
597 | 12
598 | 12
599 | 12
600 | 12
601 | 12
602 | 12
603 | 12
604 | 12
605 | 12
606 | 12
607 | 12
608 | 12
609 | 12
610 | 12
611 | 12
612 | 12
613 | 12
614 | 12
615 | 12
616 | 12
617 | 12
618 | 12
619 | 12
620 | 12
621 | 12
622 | 12
623 | 12
624 | 12
625 | 12
626 | 12
627 | 12
628 | 12
629 | 12
630 | 12
631 | 12
632 | 12
633 | 12
634 | 12
635 | 12
636 | 12
637 | 12
638 | 12
639 | 12
640 | 12
641 | 12
642 | 12
643 | 12
644 | 12
645 | 12
646 | 12
647 | 12
648 | 12
649 | 12
650 | 12
651 | 12
652 | 12
653 | 12
654 | 12
655 | 12
656 | 12
657 | 12
658 | 12
659 | 12
660 | 12
661 | 12
662 | 12
663 | 12
664 | 12
665 | 12
666 | 12
667 | 12
668 | 12
669 | 12
670 | 12
671 | 12
672 | 12
673 | 12
674 | 12
675 | 12
676 | 12
677 | 12
678 | 12
679 | 12
680 | 12
681 | 12
682 | 12
683 | 12
684 | 12
685 | 12
686 | 12
687 | 12
688 | 12
689 | 12
690 | 12
691 | 12
692 | 12
693 | 12
694 | 12
695 | 12
696 | 12
697 | 12
698 | 12
699 | 12
700 | 12
701 | 12
702 | 12
703 | 12
704 | 12
705 | 12
706 | 12
707 | 12
708 | 12
709 | 12
710 | 12
711 | 12
712 | 12
713 | 12
714 | 12
715 | 12
716 | 12
717 | 12
718 | 12
719 | 12
720 | 12
721 | 12
722 | 12
723 | 12
724 | 12
725 | 12
726 | 12
727 | 12
728 | 12
729 | 12
730 | 12
731 | 12
732 | 12
733 | 12
734 | 12
735 | 12
736 | 12
737 | 12
738 | 12
739 | 12
740 | 12
741 | 12
742 | 12
743 | 12
744 | 12
745 | 12
746 | 12
747 | 12
748 | 12
749 | 12
750 | 12
751 | 12
752 | 12
753 | 12
754 | 12
755 | 12
756 | 12
757 | 12
758 | 12
759 | 12
760 | 12
761 | 12
762 | 12
763 | 12
764 | 12
765 | 12
766 | 12
767 | 12
768 | 12
769 | 12
770 | 12
771 | 12
772 | 12
773 | 12
774 | 12
775 | 12
776 | 12
777 | 12
778 | 12
779 | 12
780 | 12
781 | 12
782 | 12
783 | 12
784 | 12
785 | 12
786 | 12
787 | 12
788 | 12
789 | 12
790 | 12
791 | 12
792 | 12
793 | 12
794 | 12
795 | 12
796 | 12
797 | 12
798 | 12
799 | 12
800 | 14
801 | 14
802 | 14
803 | 14
804 | 14
805 | 14
806 | 14
807 | 14
808 | 14
809 | 14
810 | 14
811 | 14
812 | 14
813 | 14
814 | 14
815 | 14
816 | 14
817 | 14
818 | 14
819 | 14
820 | 14
821 | 14
822 | 14
823 | 14
824 | 14
825 | 14
826 | 14
827 | 14
828 | 14
829 | 14
830 | 14
831 | 14
832 | 14
833 | 14
834 | 14
835 | 14
836 | 14
837 | 14
838 | 14
839 | 14
840 | 14
841 | 14
842 | 14
843 | 14
844 | 14
845 | 14
846 | 14
847 | 14
848 | 14
849 | 14
850 | 14
851 | 14
852 | 14
853 | 14
854 | 14
855 | 14
856 | 14
857 | 14
858 | 14
859 | 14
860 | 14
861 | 14
862 | 14
863 | 14
864 | 14
865 | 14
866 | 14
867 | 14
868 | 14
869 | 14
870 | 14
871 | 14
872 | 14
873 | 14
874 | 14
875 | 14
876 | 14
877 | 14
878 | 14
879 | 14
880 | 14
881 | 14
882 | 14
883 | 14
884 | 14
885 | 14
886 | 14
887 | 14
888 | 14
889 | 14
890 | 14
891 | 14
892 | 14
893 | 14
894 | 14
895 | 14
896 | 14
897 | 14
898 | 14
899 | 14
900 | 14

## Branch1_tables (hidden)
TABLE TO DETERMINE PRESSURE DROP FOR PIPE |  | Branch pipe size | pipe_drop | Fitting_drop
Branch pipe size | pipe_drop |  | #N/A | #N/A
0.5 | 16.4
0.75 | 10
1 | 15.5
1.25 | 16
1.5 | 15.5
2 | 11 | Gallons per foot of pipe
2.5 | 16 | Branch size | GPF
3 | 15 | 0.5 | 0.007753
3.5 | 14 | 0.75 | 0.0227
5 | 14 | 1 | 0.0442
6 | 14 | 1.25 | 0.0634
|  | 1.5 | 0.0925
|  | 2 | 0.161
TABLE TO DETERMINE PRESSURE DROP FOR FITTINGS |  | 2.5 | 0.247
Branch pipe size | Fitting_drop | 3 | 0.354
0.5 | 1.5 | 3.5 | 0.478
0.75 | 2 | 5 | 0.625
1 | 2.5 | 6 | 0.765
1.25 | 3
1.5 | 3 | GPF
2 | 3 | Branch size
2.5 | 3 | Branch feet
3 | 3 | Branch Gallons
3.5 | 3
5 | 3
6 | 3
TABLE TO DETERMINE PIPE SIZE
Max flow(GPM) | Branch pipe size
1 | 1
2 | 1
3 | 1
4 | 1
5 | 1
6 | 1
7 | 1
8 | 1
9 | 1
10 | 1
11 | 1
12 | 1
13 | 1
14 | 1
15 | 1
16 | 1.25
17 | 1.25
18 | 1.25
19 | 1.25
20 | 1.25
21 | 1.25
22 | 1.25
23 | 1.25
24 | 1.25
25 | 1.25
26 | 1.25
27 | 1.25
28 | 1.25
29 | 1.25
30 | 1.25
31 | 1.5
32 | 1.5
33 | 1.5
34 | 1.5
35 | 1.5
36 | 1.5
37 | 1.5
38 | 1.5
39 | 1.5
40 | 1.5
41 | 1.5
42 | 1.5
43 | 1.5
44 | 1.5
45 | 1.5
46 | 1.5
47 | 1.5
48 | 1.5
49 | 1.5
50 | 1.5
51 | 1.5
52 | 1.5
53 | 1.5
54 | 1.5
55 | 1.5
56 | 1.5
57 | 1.5
58 | 1.5
59 | 1.5
60 | 1.5
61 | 2
62 | 2
63 | 2
64 | 2
65 | 2
67 | 2
68 | 2
69 | 2
70 | 2
71 | 2
72 | 2
73 | 2
74 | 2
75 | 2
76 | 2
77 | 2
78 | 2
79 | 2
80 | 2
81 | 2
82 | 2
83 | 2
84 | 2
85 | 2
86 | 2
87 | 2
88 | 2
89 | 2
90 | 2
91 | 2
92 | 2
93 | 2
94 | 2
95 | 2
96 | 2
97 | 2
98 | 2
99 | 2
100 | 2
101 | 2.5
102 | 2.5
103 | 2.5
104 | 2.5
105 | 2.5
106 | 2.5
107 | 2.5
108 | 2.5
109 | 2.5
110 | 2.5
111 | 2.5
112 | 2.5
113 | 2.5
114 | 2.5
115 | 2.5
116 | 2.5
117 | 2.5
118 | 2.5
119 | 2.5
120 | 2.5
121 | 2.5
122 | 2.5
123 | 2.5
124 | 2.5
125 | 2.5
126 | 2.5
127 | 2.5
128 | 2.5
129 | 2.5
130 | 2.5
131 | 2.5
132 | 2.5
133 | 2.5
134 | 2.5
135 | 2.5
136 | 2.5
137 | 2.5
138 | 2.5
139 | 2.5
140 | 2.5
141 | 2.5
142 | 2.5
143 | 2.5
144 | 2.5
145 | 2.5
146 | 2.5
147 | 2.5
148 | 2.5
149 | 2.5
150 | 2.5
151 | 2.5
152 | 2.5
153 | 2.5
154 | 2.5
155 | 2.5
156 | 2.5
157 | 2.5
158 | 2.5
159 | 2.5
160 | 2.5
161 | 2.5
162 | 2.5
163 | 2.5
164 | 2.5
165 | 2.5
166 | 2.5
167 | 2.5
168 | 2.5
169 | 2.5
170 | 2.5
171 | 2.5
172 | 2.5
173 | 2.5
174 | 2.5
175 | 2.5
176 | 2.5
177 | 2.5
178 | 2.5
179 | 2.5
180 | 2.5
181 | 2.5
182 | 2.5
183 | 2.5
184 | 2.5
185 | 2.5
186 | 2.5
187 | 2.5
188 | 2.5
189 | 2.5
190 | 2.5
191 | 2.5
192 | 2.5
193 | 2.5
194 | 2.5
195 | 2.5
196 | 2.5
197 | 2.5
198 | 2.5
199 | 2.5
200 | 2.5
201 | 3
202 | 3
203 | 3
204 | 3
205 | 3
206 | 3
207 | 3
208 | 3
209 | 3
210 | 3
211 | 3
212 | 3
213 | 3
214 | 3
215 | 3
216 | 5
217 | 5
218 | 5
219 | 5
220 | 5
221 | 5
222 | 5
223 | 5
224 | 5
225 | 5
226 | 6
227 | 6
228 | 6
229 | 6
230 | 6
231 | 6
232 | 6
233 | 6
234 | 6
235 | 6
236 | 6
237 | 6
238 | 6
239 | 6
240 | 6
241 | 6
242 | 6
243 | 6
244 | 6
245 | 6
246 | 6
247 | 6
248 | 6
249 | 6
250 | 6

## Branch2_tables (hidden)
TABLE TO DETERMINE PRESSURE DROP FOR PIPE |  | Branch pipe size | pipe_drop | Fitting_drop
Branch pipe size | pipe_drop |  | #N/A | #N/A
0.5 | 16.4
0.75 | 10
1 | 15.5
1.25 | 16
1.5 | 15.5
2 | 11 | Gallons per foot of pipe
2.5 | 16 | Branch size | GPF
3 | 15 | 0.5 | 0.007753
3.5 | 14 | 0.75 | 0.0227
5 | 14 | 1 | 0.0442
6 | 14 | 1.25 | 0.0634
|  | 1.5 | 0.0925
|  | 2 | 0.161
TABLE TO DETERMINE PRESSURE DROP FOR FITTINGS |  | 2.5 | 0.247
Branch pipe size | Fitting_drop | 3 | 0.354
0.5 | 1.5 | 3.5 | 0.478
0.75 | 2 | 5 | 0.625
1 | 2.5 | 6 | 0.765
1.25 | 3
1.5 | 3 | GPF
2 | 3 | Branch size
2.5 | 3 | Branch feet
3 | 3 | Branch Gallons
3.5 | 3
5 | 3
6 | 3
TABLE TO DETERMINE PIPE SIZE
Max flow(GPM) | Branch pipe size
1 | 1
2 | 1
3 | 1
4 | 1
5 | 1
6 | 1
7 | 1
8 | 1
9 | 1
10 | 1
11 | 1
12 | 1
13 | 1
14 | 1
15 | 1
16 | 1.25
17 | 1.25
18 | 1.25
19 | 1.25
20 | 1.25
21 | 1.25
22 | 1.25
23 | 1.25
24 | 1.25
25 | 1.25
26 | 1.25
27 | 1.25
28 | 1.25
29 | 1.25
30 | 1.25
31 | 1.5
32 | 1.5
33 | 1.5
34 | 1.5
35 | 1.5
36 | 1.5
37 | 1.5
38 | 1.5
39 | 1.5
40 | 1.5
41 | 1.5
42 | 1.5
43 | 1.5
44 | 1.5
45 | 1.5
46 | 1.5
47 | 1.5
48 | 1.5
49 | 1.5
50 | 1.5
51 | 1.5
52 | 1.5
53 | 1.5
54 | 1.5
55 | 1.5
56 | 1.5
57 | 1.5
58 | 1.5
59 | 1.5
60 | 1.5
61 | 2
62 | 2
63 | 2
64 | 2
65 | 2
67 | 2
68 | 2
69 | 2
70 | 2
71 | 2
72 | 2
73 | 2
74 | 2
75 | 2
76 | 2
77 | 2
78 | 2
79 | 2
80 | 2
81 | 2
82 | 2
83 | 2
84 | 2
85 | 2
86 | 2
87 | 2
88 | 2
89 | 2
90 | 2
91 | 2
92 | 2
93 | 2
94 | 2
95 | 2
96 | 2
97 | 2
98 | 2
99 | 2
100 | 2
101 | 2.5
102 | 2.5
103 | 2.5
104 | 2.5
105 | 2.5
106 | 2.5
107 | 2.5
108 | 2.5
109 | 2.5
110 | 2.5
111 | 2.5
112 | 2.5
113 | 2.5
114 | 2.5
115 | 2.5
116 | 2.5
117 | 2.5
118 | 2.5
119 | 2.5
120 | 2.5
121 | 2.5
122 | 2.5
123 | 2.5
124 | 2.5
125 | 2.5
126 | 2.5
127 | 2.5
128 | 2.5
129 | 2.5
130 | 2.5
131 | 2.5
132 | 2.5
133 | 2.5
134 | 2.5
135 | 2.5
136 | 2.5
137 | 2.5
138 | 2.5
139 | 2.5
140 | 2.5
141 | 2.5
142 | 2.5
143 | 2.5
144 | 2.5
145 | 2.5
146 | 2.5
147 | 2.5
148 | 2.5
149 | 2.5
150 | 2.5
151 | 2.5
152 | 2.5
153 | 2.5
154 | 2.5
155 | 2.5
156 | 2.5
157 | 2.5
158 | 2.5
159 | 2.5
160 | 2.5
161 | 2.5
162 | 2.5
163 | 2.5
164 | 2.5
165 | 2.5
166 | 2.5
167 | 2.5
168 | 2.5
169 | 2.5
170 | 2.5
171 | 2.5
172 | 2.5
173 | 2.5
174 | 2.5
175 | 2.5
176 | 2.5
177 | 2.5
178 | 2.5
179 | 2.5
180 | 2.5
181 | 2.5
182 | 2.5
183 | 2.5
184 | 2.5
185 | 2.5
186 | 2.5
187 | 2.5
188 | 2.5
189 | 2.5
190 | 2.5
191 | 2.5
192 | 2.5
193 | 2.5
194 | 2.5
195 | 2.5
196 | 2.5
197 | 2.5
198 | 2.5
199 | 2.5
200 | 2.5
201 | 3
202 | 3
203 | 3
204 | 3
205 | 3
206 | 3
207 | 3
208 | 3
209 | 3
210 | 3
211 | 3
212 | 3
213 | 3
214 | 3
215 | 3
216 | 5
217 | 5
218 | 5
219 | 5
220 | 5
221 | 5
222 | 5
223 | 5
224 | 5
225 | 5
226 | 6
227 | 6
228 | 6
229 | 6
230 | 6
231 | 6
232 | 6
233 | 6
234 | 6
235 | 6
236 | 6
237 | 6
238 | 6
239 | 6
240 | 6
241 | 6
242 | 6
243 | 6
244 | 6
245 | 6
246 | 6
247 | 6
248 | 6
249 | 6
250 | 6

## Branch3_tables (hidden)
TABLE TO DETERMINE PRESSURE DROP FOR PIPE |  | Branch pipe size | pipe_drop | Fitting_drop
Branch pipe size | pipe_drop |  | #N/A | #N/A
0.5 | 16.4
0.75 | 10
1 | 15.5
1.25 | 16
1.5 | 15.5
2 | 11 | Gallons per foot of pipe
2.5 | 16 | Branch size | GPF
3 | 15 | 0.5 | 0.007753
3.5 | 14 | 0.75 | 0.0227
5 | 14 | 1 | 0.0442
6 | 14 | 1.25 | 0.0634
|  | 1.5 | 0.0925
|  | 2 | 0.161
TABLE TO DETERMINE PRESSURE DROP FOR FITTINGS |  | 2.5 | 0.247
Branch pipe size | Fitting_drop | 3 | 0.354
0.5 | 1.5 | 3.5 | 0.478
0.75 | 2 | 5 | 0.625
1 | 2.5 | 6 | 0.765
1.25 | 3
1.5 | 3 | GPF
2 | 3 | Branch size
2.5 | 3 | Branch feet
3 | 3 | Branch Gallons
3.5 | 3
5 | 3
6 | 3
TABLE TO DETERMINE PIPE SIZE
Max flow(GPM) | Branch pipe size
1 | 1
2 | 1
3 | 1
4 | 1
5 | 1
6 | 1
7 | 1
8 | 1
9 | 1
10 | 1
11 | 1
12 | 1
13 | 1
14 | 1
15 | 1
16 | 1.25
17 | 1.25
18 | 1.25
19 | 1.25
20 | 1.25
21 | 1.25
22 | 1.25
23 | 1.25
24 | 1.25
25 | 1.25
26 | 1.25
27 | 1.25
28 | 1.25
29 | 1.25
30 | 1.25
31 | 1.5
32 | 1.5
33 | 1.5
34 | 1.5
35 | 1.5
36 | 1.5
37 | 1.5
38 | 1.5
39 | 1.5
40 | 1.5
41 | 1.5
42 | 1.5
43 | 1.5
44 | 1.5
45 | 1.5
46 | 1.5
47 | 1.5
48 | 1.5
49 | 1.5
50 | 1.5
51 | 1.5
52 | 1.5
53 | 1.5
54 | 1.5
55 | 1.5
56 | 1.5
57 | 1.5
58 | 1.5
59 | 1.5
60 | 1.5
61 | 2
62 | 2
63 | 2
64 | 2
65 | 2
67 | 2
68 | 2
69 | 2
70 | 2
71 | 2
72 | 2
73 | 2
74 | 2
75 | 2
76 | 2
77 | 2
78 | 2
79 | 2
80 | 2
81 | 2
82 | 2
83 | 2
84 | 2
85 | 2
86 | 2
87 | 2
88 | 2
89 | 2
90 | 2
91 | 2
92 | 2
93 | 2
94 | 2
95 | 2
96 | 2
97 | 2
98 | 2
99 | 2
100 | 2
101 | 2.5
102 | 2.5
103 | 2.5
104 | 2.5
105 | 2.5
106 | 2.5
107 | 2.5
108 | 2.5
109 | 2.5
110 | 2.5
111 | 2.5
112 | 2.5
113 | 2.5
114 | 2.5
115 | 2.5
116 | 2.5
117 | 2.5
118 | 2.5
119 | 2.5
120 | 2.5
121 | 2.5
122 | 2.5
123 | 2.5
124 | 2.5
125 | 2.5
126 | 2.5
127 | 2.5
128 | 2.5
129 | 2.5
130 | 2.5
131 | 2.5
132 | 2.5
133 | 2.5
134 | 2.5
135 | 2.5
136 | 2.5
137 | 2.5
138 | 2.5
139 | 2.5
140 | 2.5
141 | 2.5
142 | 2.5
143 | 2.5
144 | 2.5
145 | 2.5
146 | 2.5
147 | 2.5
148 | 2.5
149 | 2.5
150 | 2.5
151 | 2.5
152 | 2.5
153 | 2.5
154 | 2.5
155 | 2.5
156 | 2.5
157 | 2.5
158 | 2.5
159 | 2.5
160 | 2.5
161 | 2.5
162 | 2.5
163 | 2.5
164 | 2.5
165 | 2.5
166 | 2.5
167 | 2.5
168 | 2.5
169 | 2.5
170 | 2.5
171 | 2.5
172 | 2.5
173 | 2.5
174 | 2.5
175 | 2.5
176 | 2.5
177 | 2.5
178 | 2.5
179 | 2.5
180 | 2.5
181 | 2.5
182 | 2.5
183 | 2.5
184 | 2.5
185 | 2.5
186 | 2.5
187 | 2.5
188 | 2.5
189 | 2.5
190 | 2.5
191 | 2.5
192 | 2.5
193 | 2.5
194 | 2.5
195 | 2.5
196 | 2.5
197 | 2.5
198 | 2.5
199 | 2.5
200 | 2.5
201 | 3
202 | 3
203 | 3
204 | 3
205 | 3
206 | 3
207 | 3
208 | 3
209 | 3
210 | 3
211 | 3
212 | 3
213 | 3
214 | 3
215 | 3
216 | 5
217 | 5
218 | 5
219 | 5
220 | 5
221 | 5
222 | 5
223 | 5
224 | 5
225 | 5
226 | 6
227 | 6
228 | 6
229 | 6
230 | 6
231 | 6
232 | 6
233 | 6
234 | 6
235 | 6
236 | 6
237 | 6
238 | 6
239 | 6
240 | 6
241 | 6
242 | 6
243 | 6
244 | 6
245 | 6
246 | 6
247 | 6
248 | 6
249 | 6
250 | 6

## Input_Drop_Downs (hidden)
GPM | LOAD_TEMP_F | TEMP_Rise | PRESSURE_TO_LOAD | LOAD_DELTA_P | TEMP_TOLLERANCE_F | BRANCH_PIPE_LENGTH | BRANCH_FITTINGS | HEADER_DISTANCE
1 | -10 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | -9 | 2 | 2 | 2 | 2 | 2 | 2 | 2
3 | -8 | 3 | 3 | 3 | 3 | 3 | 3 | 3
4 | -7 | 4 | 4 | 4 | 4 | 4 | 4 | 4
5 | -6 | 5 | 5 | 5 | 5 | 5 | 5 | 5
6 | -5 | 6 | 6 | 6 | 6 | 6 | 6 | 6
7 | -4 | 7 | 7 | 7 | 7 | 7 | 7 | 7
8 | -3 | 8 | 8 | 8 | 8 | 8 | 8 | 8
9 | -2 | 9 | 9 | 9 | 9 | 9 | 9 | 9
10 | -1 | 10 | 10 | 10 | 10 | 10 | 10 | 10
11 | 0 | 11 | 11 | 11 | 11 | 11 | 11 | 11
12 | 1 | 12 | 12 | 12 | 12 | 12 | 12 | 12
13 | 2 | 13 | 13 | 13 | 13 | 13 | 13 | 13
14 | 3 | 14 | 14 | 14 | 14 | 14 | 14 | 14
15 | 4 | 15 | 15 | 15 | 15 | 15 | 15 | 15
16 | 5 | 16 | 16 | 16 |  | 16 | 16 | 16
17 | 6 | 17 | 17 | 17 |  | 17 | 17 | 17
18 | 7 | 18 | 18 | 18 |  | 18 | 18 | 18
19 | 8 | 19 | 19 | 19 |  | 19 | 19 | 19
20 | 9 | 20 | 20 | 20 |  | 20 | 20 | 20
21 | 10 | 21 | 21 |  |  | 21 | 21 | 21
22 | 11 | 22 | 22 |  |  | 22 | 22 | 22
23 | 12 | 23 | 23 |  |  | 23 | 23 | 23
24 | 13 | 24 | 24 |  |  | 24 | 24 | 24
25 | 14 | 25 | 25 |  |  | 25 | 25 | 25
26 | 15 | 26 | 26 |  |  | 26 | 26 | 26
27 | 16 | 27 | 27 |  |  | 27 | 27 | 27
28 | 17 | 28 | 28 |  |  | 28 | 28 | 28
29 | 18 | 29 | 29 |  |  | 29 | 29 | 29
30 | 19 | 30 | 30 |  |  | 30 | 30 | 30
31 | 20 | 31 | 31 |  |  | 31 | 31 | 31
32 | 21 | 32 | 32 |  |  | 32 | 32 | 32
33 | 22 | 33 | 33 |  |  | 33 | 33 | 33
34 | 23 | 34 | 34 |  |  | 34 | 34 | 34
35 | 24 | 35 | 35 |  |  | 35 | 35 | 35
36 | 25 | 36 | 36 |  |  | 36 | 36 | 36
37 | 26 | 37 | 37 |  |  | 37 | 37 | 37
38 | 27 | 38 | 38 |  |  | 38 | 38 | 38
39 | 28 | 39 | 39 |  |  | 39 | 39 | 39
40 | 29 | 40 | 40 |  |  | 40 | 40 | 40
41 | 30 | 41 | 41 |  |  | 41 | 41 | 41
42 | 31 | 42 | 42 |  |  | 42 | 42 | 42
43 | 32 | 43 | 43 |  |  | 43 | 43 | 43
44 | 33 | 44 | 44 |  |  | 44 | 44 | 44
45 | 34 | 45 | 45 |  |  | 45 | 45 | 45
46 | 35 | 46 | 46 |  |  | 46 | 46 | 46
47 | 36 | 47 | 47 |  |  | 47 | 47 | 47
48 | 37 | 48 | 48 |  |  | 48 | 48 | 48
49 | 38 | 49 | 49 |  |  | 49 | 49 | 49
50 | 39 | 50 | 50 |  |  | 50 | 50 | 50
51 | 40 | [6 empty] | 51
52 | 41 | [6 empty] | 52
53 | 42 | [6 empty] | 53
54 | 43 | [6 empty] | 54
55 | 44 | [6 empty] | 55
56 | 45 | [6 empty] | 56
57 | 46 | [6 empty] | 57
58 | 47 | [6 empty] | 58
59 | 48 | [6 empty] | 59
60 | 49 | [6 empty] | 60
61 | 50 | [6 empty] | 61
62 | 51 | [6 empty] | 62
63 | 52 | [6 empty] | 63
64 | 53 | [6 empty] | 64
65 | 54 | [6 empty] | 65
66 | 55 | [6 empty] | 66
67 | 56 | [6 empty] | 67
68 | 57 | [6 empty] | 68
69 | 58 | [6 empty] | 69
70 | 59 | [6 empty] | 70
71 | 60 | [6 empty] | 71
72 | 61 | [6 empty] | 72
73 | 62 | [6 empty] | 73
74 | 63 | [6 empty] | 74
75 | 64 | [6 empty] | 75
76 | 65 | [6 empty] | 76
77 | 66 | [6 empty] | 77
78 | 67 | [6 empty] | 78
79 | 68 | [6 empty] | 79
80 | 69 | [6 empty] | 80
81 | 70 | [6 empty] | 81
82 | 71 | [6 empty] | 82
83 | 72 | [6 empty] | 83
84 | 73 | [6 empty] | 84
85 | 74 | [6 empty] | 85
86 | 75 | [6 empty] | 86
87 | 76 | [6 empty] | 87
88 | 77 | [6 empty] | 88
89 | 78 | [6 empty] | 89
90 | 79 | [6 empty] | 90
91 | 80 | [6 empty] | 91
92 | [7 empty] | 92
93 | [7 empty] | 93
94 | [7 empty] | 94
95 | [7 empty] | 95
96 | [7 empty] | 96
97 | [7 empty] | 97
98 | [7 empty] | 98
99 | [7 empty] | 99
100 | [7 empty] | 100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250